## HIRA Sheet
Hazard Identification & Risk Assesment
Jindal Stainless Steelway Ltd.
Equipment /Machine:-Elect.Maint. | [12 empty] | Doc No.:-JSSL/ISP/HSE/03
Location:-Gurgaon | [12 empty] | Review Date:-03.01.24
Members Name:-Mr.Sumit & Team | [12 empty] | Rev.No:-00
Reviewed & Modified By:-Mr.Ashish Kumar
|  |  | 1-8:-Low Risk |  | 9-16:-Medium Risk | 17-25:-High Risk
Sr No. | Activity | Type of Activity | Hazard | Risk | Existing Control | Probablity(P) | Impact(I) | Risk | Additional Control Measures | Probablity(P) | Impact(I) | Risk | Roles & Responsibility
1 | Maintenance of 11kV line | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision.Isolation with LOTO provision, Local earthing using discharge rod, HT arc flash suit, HT gloves, helmet, safety shoes, insulation mat, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Only tested and certified tools and tackles to be used. Working area shall be cordened off. Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
2 | Maintenance of Vaccum Circuit Breaker, Air Circuit Breaker & all switchgear equipments | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision.Isolation with LOTO provision, Local earthing using discharge rod, HT arc flash suit, HT gloves, helmet, safety shoes, insulation mat, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Only tested and certified tools and tackles to be used. Working area shall be cordened off. Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
3 | Maintenance of Variable Frequency Drive (VFD) | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
4 | Maintenance of PLC Equipments, Panels, Control Desks | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
5 | Maintenance of Motors (AC/DC) | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
6 | Maintenance of EOT Cranes | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
7 | Maintenance of Shed lights & Street lights | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Manlifter to be used. Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles, gloves | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
8 | Maintenance of Field Equipments like proximities sensor, position sensors, valves & solenoid coils | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Manlifter to be used. Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles, gloves | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
9 | Maintenance of DG | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Manlifter to be used. Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles, gloves | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
10 | Maintenance of UPS | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Manlifter to be used. Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles, gloves | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
11 | Maintenance of Weighing Scales | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Manlifter to be used. Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles, gloves | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head
Electrical Head
12 | Maintenance of Capacitor Bank Panels | Routine | Electrocution | Shock,Burn injury,Fatal | Proper supervision,zero voltage to be ensured during work, gloves, helmet, safety shoes, goggles | 2 | 5 | 10 | Licensed and experienced workforce to be engaged for specific job. Movement of ladder near overhead power line to be done keeping safe ground clearance. | 1 | 4 | 4 | Electrical Head
|  |  | Fall from height | First aid injury, Internal injury, hammorage, fatal | Proper supervision.FRP ladder with rubber toe, Full body harness with double lanyard and shock absorber, fall arrester, helmet, safety shoes, gloves, goggles, 3-point contacts to be maintained throughout the work | 2 | 5 | 10 | Manlifter to be used. Experienced workforce to be engaged for specific job. Only medically fit persons shall be engaged without influence of drugs or alcohol. | 1 | 4 | 4 | Electrical Head
|  |  | Fall of object | First aid injury, Internal injury, hammorage, fatal | Pole verticality must be ensured throughout the work. Helmet, safety shoes, goggles, gloves | 2 | 5 | 10 | Manlifter to be used. Only authorised experienced persons shall work at site. | 1 | 3 | 3 | Electrical Head
|  |  | Slip/trip | First aid injury, Internal injury | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Only authorised experienced persons shall work at site | 1 | 2 | 2 | Electrical Head
|  |  | Extreme/ Unhealthy condition (Rain,thunderstorm ,heavy wind,high temperature, poor illumination) | Electrocution,Fall of object, Lightening , strike, Sunstroke, slip/trip, first aid injury, internal injury, fatal | Safety shoes, helmet, hand gloves, goggles | 2 | 5 | 10 | Check weather forecast before starting job | 1 | 2 | 2 | Electrical Head
|  |  | Biohazard (Snake, Monkey, insect and other wild creatures) | First aid injury, Internal injury,fatal | Safety shoes, helmet, hand gloves, goggles, gum boots, high beam torch | 2 | 4 | 8 | Housekeeping of all working areas on regular basis. 360° inspection of the area prior to work. | 1 | 3 | 3 | Electrical Head
|  |  | Caught in between (Pinch, Cut by sharp edge, Bruise) | First aid injury, Internal injury | Proper supervision.Only tested and certified tools and tackles to be used. Working area shall be cordened off. Helmet, safety shoes, goggles, Working area shall be cordened off. | 2 | 5 | 10 | Only authorised experienced persons shall work at site. | 1 | 4 | 4 | Electrical Head

## Risk Calculator
RISK CALCULATOR | [7 empty] | RISK RATING CRITERIA
| Probability of occurrence | [6 empty] | Rating | Likelihood of occurrence | Severity of consequence
|  | 1 | 2 | 3 | 4 | 5
Severity of consequence | 5 | 5 | 10 | 15 | 20 | 25 |  | 5 | Hazardous event or situation could occur number of times in a 8 hr shift of operation (Occurrence is certain) | Fatal
| 4 | 4 | 8 | 12 | 16 | 20 |  | 4 | Hazardous event or situation could occur daily during 8 hr shift (Very likely occurrence) | Serious Injury
| 3 | 3 | 6 | 9 | 12 | 16 |  | 3 | Hazardous event or situation could occur every week during 8 hr shift of operation (likely occurrence) | Major Injury
| 2 | 2 | 4 | 6 | 8 | 10 |  | 2 | Hazardous event or situation can occur every month during 8 hr shift of operation (seldom occurrence) | Minor Injury
| 1 | 1 | 2 | 3 | 4 | 5 |  | 1 | Hazardous event or situation may occur once in a year or more than a year during 8 hr shift of operation (Unlikely occurrence) | Nearmiss or First Aid
[5 empty] | 1-8:-Low Risk | 9-16:-Medium Risk | 17-25:-High Risk
Below Hazards and related activities are considered to be having unacceptable risk (Significant hazards) for the following conditions : 1.Hazards / activities become significant for cases of Extreme or High risks as per matrix 2.All activities, which, give raise to emergency situations such as, Fire, explosion, bursting, sudden toxic / dust releases, etc., become (unacceptable risk) significant and are considered under close Monitoring and On Site emergency plan. 3.Activities having non complied legal requirements. 4.Activities where there are no control measures for eliminating / controlling / reducing the risk. 5.Hazards whose impacts cannot be detected within an hour.
Hierarchy of Controls To control the risk, the hierarchy of controls is applied. The hierarchy of controls lists the various strategies, in order of preference, which should be considered to treat the risk. 1. Elimination – Is there a way to eliminate the need to be exposed to the hazard 2. Substitution – Can the product, process, or plant be replaced by something less hazardous 3. Engineering Controls – Can an engineering solution be found to address the hazard .Hazard be isolated – guards, barriers, etc 4 Administrative controls – Can job rotation, or procedures be used to minimize the risk 5. PPE - Personal Protective Equipment